YEAR 12 CHEMISTRY: ACID-BASE TITRATIONS

Acid-base titrations are a means of finding the concentration of an "unknown" acid or base solution by measuring the volume of the unknown that is required to react with a known volume of a "standard" solution. This type of work is also called "volumetric analysis".

1 Preparation of a primary standard.

(a) Calculate the mass of solid needed to make the required volume of the concentration of solution needed.

(b) Weigh out, accurately, approximately this mass.

(c) Dissolve the weighed primary standard solid in distilled water, and make up to the mark in the appropriate volumetric flask.

(d) Calculate the exact molarity of the solution you have made up.

2 Titration of an unknown solution with the primary standard

(a) Choose which reagent solution will be delivered from the burette (it is a good practice to avoid using solutions which may damage a burette, eg alkaline solutions).

(b) Pipette the other solution into a conical flask.

(c) Add 2 or 3 drops of a suitable indicator to the solution in the flask (eg for a titration between strong acid like HC and a weak base like Na2CO3, use methyl orange).

(d) Record the volume reading on the burette (should be able to read to 2 decimal places).

(e) Add the solution from the burette until the colour of the solution in the conical flask is the transitional colour (eg for methyl orange, a pale orange colour).

(f) Record the final volume reading on the burette (should be able to read to 2 decimal places).

(g) Calculate the volume delivered from the burette, by subtraction.

(i) Repeat the procedure until at least 2 volumes delivered agree, to ± 0.1 mL.

(j) Average those results that agree, and calculate the molarity of the unknown solution.

(k) The concentration of the unknown is now known, and it may be used as a secondary standard.

3 Titration of an unknown solution with a secondary standard

This procedure is the same as for titration with a primary standard.

SUMMARY OF PROCEDURES IN ACID-BASE TITRATIONS

| Primary standard used | anhydrous Na2CO3 dissolved in distilled water |
| --- | --- |
| Titrated against | dilute HCl solution (which becomes a secondarystandard) |
| Indicator used | methyl orange |
| Secondary standard titrated against | NaOH solution (which may become a secondary standard) or NH3 solution |
| Indicators used | HCl vs NaOH: any |
|  | HCl vs NH3: methyl orange |
|  | NaOH vs CH3COOH: phenolphthalein |

MINIMISING ERRORS

Rinsing procedures

(a) Rinse delivery equipment (pipette, burette) before use with the solution to be delivered

(b) Rinse volumetric & conical flasks before use with distilled water

(c) Rinse storage equipment (stock bottle) before use with the solution to be stored

Using equipment

(a) Make sure that equipment is used correctly:

* don't blow the last drop out of a pipette

* remove air bubbles from the tap of a burette before use

* read volumes so as to minimise error

(b) Retain solutions from previous titrations in a series to compare final colours

(c) use a minimum, but consistent, amount of indicator

Safety

(a) Wear safety glasses, shoes, lab coat if available

(b) Clean up spills immediately

(c) Label all beakers & storage glassware

(d) Use a pipette filler

(e) When filling volumetric flasks or burettes, ensure that

* the liquid being poured is below eye level

* no air locks occur

(f) Ensure you have enough elbow room to work safely before starting the titration.

# SUMMARY OF ACID-BASE TITRATIONS

| STANDARD USED | EXPT | TITRATED AGAINST | INDICATOR USED |
| --- | --- | --- | --- |
| PRIMARY STANDARD: anhydrous Na2CO3 dissolved in distilled water | 45 | dilute hydrochloric acid solution | methyl orange |
| SECONDARY STANDARD: dilute hydrochloric acid solution | 46 | dilute sodium hydroxide solution | any |
| SECONDARY STANDARD: dilute sodium hydroxide solution | 47 | vinegar (dilute acetic acid solution) | phenolphthalein |
| SECONDARY STANDARD: dilute hydrochloric acid solution | 48 | ammonia solution | methyl orange |